Lecture 1

CE260

G. Hoag/Spring 2000

Water Quality

- Regulation Driven

  - Clean Water Act

  - Safe Drinking Water Act (SDWA)

  - RCRA

  - CERCLA

- Risk and Numeric Criteria

  - Primary - enforceable

  - Secondary - nonenforceable

- Health and Synthetic Criteria

- Receiving Water and Receptor Issues Consider use Resource

- Treatment adds Chemicals (e.g. Fl-, SOC's, and CL2) and OC (natural and synthetic) to H2O.

- International Issues

- Who, EU, ISO, and STD's

SDWA 1974 and Amendments

- Bacterial Quality

  - Indicators

- Chemical and Physical

  - MCL's, MCLG's, and Action Levels

- Aesthetic

- Types of Source and Community Served Affects Treatment and Monitoring

Course Objectives: See Syllabus

- Physical chemical biological characteristics of H2O

- Treatment process selection - Flow diagram and systems approach

- Mass balances (chemical and H2O) in application to water and wastewater

- Understand basic physical, chemical and biological operations used in water and wastewater treatment, so that you can perform basic calculations on unit operations

Roles of Engineering Intervention in Hydrologic Cycle

Clean Water Act 1972 and Amendments

Construction grants

Precipitation

Runoff

Agriculture

- storm water

control

- combined sewers

Rivers

Oceans

Lakes

Industry

Surface H2O

Potable H2O

Wastewater

Treatment

Saline Intrusion

Groundwater

Groundwater

Remediation

H2O

Residual's

Raw Water

Treatment

Evaporation

- cooling tower

- gas/liquid contactor

- cooling ponds

Treatment

Infiltration

Dewatering

Atmosphere

- Contaminants (toxics in WW and sludge)

- Non-point sources

- Regulation of 65000 chemicals

- Water shed management

  - Wetland permitting

  - Ecological values

Based on receiving H2O (zero discharge goal)

- Beneficial uses (EPA)

  - Aquatic life

  - Fish consumption

  - Shell fish harvesting

  - Drinking water use

  - Primary contact recreation

  - Secondary contact recreation

  - Agricultural use

- States must perform water quality assessments

Reference: Master, G. Intro to Environmental Science

- In order of Rankings (Lakes)

  - Pollutants - most impaired by metals, nutrients, TOC/siltation, and priority organic chemicals

  - Sources - most impaired by agriculture, runoff, hydrologic/habitat modification, WWTP's and on-site WWTP's

- River miles Impaired

  - Pollutants - siltation, nutrients, pathogens, pesticides, TOC/DO

  - Sources - agriculture, WWTP, runoff, resource use (extraction), industrial, forestry, and habitat modification

Drinking Water Standards

- NPDES Permits

  - Effluent based

  - Water quality based

- Basic WWTP parameters

  - BOD, COD, TS, TSS, TDS, and colloids

Raw and Potable Water

Use

Treatment

Receptor

- desired quality

- characteristics

Public, Regional, Interstate Concerns, Federal Goals