Lecture 6

CE260/Spring 2000

- 6.5 Identification and Enumeration of Microorganisms

  - Selective media

    - Competitive advantage

    - Add same component to media to then differentiate a group or species

  - Growth factors

  - Enumeration

    - (HPC) heterotrophic plate count – total bacteria population

      - Temp. 20C to 35C

      - add volume sample mixture on petri dish  incubator (24 hours – 4 days) count colonies

    - (MPN) Most probable number – Greenwood and Yale (1917)

      - consist of taking different volume sample as various dilutions get 
+ or – for a dilution

      - Generally 3 sets of aliquots 10mL, 1 mL, and 0.1 mL – use probability approach see standard methods

    - Membrane filter technique (MF)

      - Filtration of sample

      - Filter onto petri dish with selective medium

      - Assumes growth of colonies associated w/ a bacterium

      - Serial dilutions

      - Rapid and convenient

      - Use arithmetic mean and geometric mean

AM=yin GM=ny1×y2×⋯×yn

  - Bateria, Viruses, Protozoa, Helminthes

    - Disease vectors

      - Indicators of fecal contamination

    - Indicators

      - Coliform

        - Associated with warm and cold blooded animals

        - Problem some natural bacteria present as well

      - Fecal coliforms

        - More specific (E.Coli)

        - Membrane technique very common