Lecture 7

CE260/Spring 2000

# Water and Wastewater Treatment

  - Treatment system selection is related to physical/chemical/biological characteristics of influents and required characteristics of effluent (cost, reliability, and acceptance issues)

  - Read Chapters 8 and 9

  - Unit Operations

  - Process Control System Flow Diagrams

  - Water and Wastewater Treatment have many Similar Unit Operations

    - Aeration

    - Activated carbon

    - Coagulation/flocculation/settling

    - Filtration/disinfection

    - Dissolved air flotation

  - Mass Transfer and Aeration

    - Govern the removal of volatile from water and dissolution of gas into water

    - Nature of gas liquid phase contact effects mass transfer operations

    - Change in mass transfer per unit time in an elemental volume is related to surface area and concentration gradients

x

C + C

C

A

    - If considering diffusion alone

ΔmΔt∝−AΔCΔx or ΔmΔt∝−DAΔCΔC

N=1Admdt=−Ddcdx

dmdt=−KcDgygA(pi−pg)=−DlylA(Cl−Ci) dmdt=kgA(pg−pi)=klA(Ci−Cl)

    - Where:

      - Kc = mass transfer constant

      - Dl = diffusion coefficient for gas in water

      - Dg = diffusion coefficient for gas in the gas phase

      - yl = hypothetical liquid film thickness

      - yg = hypothetical gas film thickness

      - A = interfacial area

      - pI = partial pressure of gas in the gas phase at the interface

      - pg = partial pressure of gas in the bulk gas phase

      - CI = gas concentration in liquid at the interface

      - Cg = gas conc. In liquid bulk phase

      - kl = liquid film coefficient

      - kg = gas film coefficient

    - Ideal gas law

pV=nRT → [Cg]=nV=pRTCgmassL=GMWnV=GMW[Cg]=GMWpRTKc=GMWRT

    - If kl << kg

Ci=Cs=KHpgdmdt=klACs−ClDivide by VolumedmVdt=dCldt=klaCs−Cl

    - If kl not < kg

dCldt=KlaCs−Cl

    - Integration

CoCdClCs−Cl=Kla0tdtC=Cs−Cs−Coe−kt