Lecture 13

CE260/Spring 2000

- Fe2+ and Mn2+ removal

  - WHO standards for acceptable concentrations of iron and manganese are 0.3 and 0.1 mg/L respectively

  - Solubility is controlled by the oxidation state

Fe2++e−→Fe2+Mn4++2e−→Mn2+

    - Iron oxide (rust) has reddish brown color and MnO2 has brown black color and they are both precipitates

    - pH, temp, complexing agents and O2 effect oxidation

    - If rxn rate of oxidation < input then iron and manganese will accumulate

    - Can use Permanganate (MnO4) to oxidize iron and manganese

    - Redox equations are below Mn2+ likes high pH , while Fe2+favors low pH

3Mn2++2MnO4−+4OH−→5MnO2(s)+2H2O3Fe2++MnO4−+4H+→3Fe3++MnO2(s)+2H2O

    - Overall reaction for iron removal is favored under high pH conditions

3Fe2++MnO42−+5OH−+2H2O→3Fe(OH)3(s)+MnO2(s)

    - The reactions for the oxidation of Fe2+ with oxygen are:

4Fe2++O2+10H2O→4Fe(OH)3+8H+2Mn2++O2+2H2O→2MnO2(s)+4H+

  - Greensand - glauconite (K, Na, Ca)1.2-2 - (Fe3+, Al, Fe, Mg)4 Si7-7.6Al1-1.4O2(OH)4 nH2O

    - If MnO2 coats the surface then adsorbed Fe2+ and Mn2+ oxidizes completely to Mn4+, Mn3+ and Fe3+

    - KMnO4 is used to regenerate the surface (H2S and phenols are also removed)

- Phosphorus removal

  - P is typically the limiting factor for freshwater systems

    - Al2(SO4)3.18H2O is alum

    - Na2Al2O4 is sodium alumnate

    - Figures 15.4a nd b

- Activated carbon

  - Removal of dissolved substances by adsorption onto surface of the carbon

    - Carbon is the absorbent

    - Solute is the absorbate

    - Can remove SOCs (synthetic organic chemicals) also radium 222, Hg, and other metals

    - Some organic chemicals that are not removed (e.g. THMs, methylene chloride, MTBE)

    - Can dechlorinate with GAC Cl2  2Cl- and chloroamines  CO2 + Cl-

    - Two types of activated carbon: granular GAC and powder PAC

    - Activation process have wood or coal +oxidizing steam ~1700F (water-gas rxn)

C(s)+H2O→H2+CO2(g)

    - Loss of C in form of COg leaves a very porous structure to the char up to 1000 m2/g carbon

  - Adsorption capacity of activated carbon

    - Adsorption isotherm describes relationship between the amount of adsorbate adsorbed and equilibrium adsorbate concentration in solution

    - Bottle pt method

      - Same conc. absorbate in solution

      - Different concentration of carbon

      - 10 bottles on shaker test table

Conc.

Time in hours

x

      - run last for 1.5 x

V(Co−C)=M(qe−qi)

    - Where:

      - V = volume of sample

      - Co = initial adsorbate

      - C = final steady state concentration

      - M = mass of carbon

      - qe = equilibrium conc. adsorbed/mass C

      - qI = initial conc. adsorbed/mass C

qe=(Co−C)VM

  - Langmuir Isotherm (Ex. 15.4)

    - 1918 single layer adsorption model

    -  = fraction S.A. covered by adsorbate at equilibrium

    - 1- = bare fraction

    - Since adsorption rate = desorption rate at SS

kC(1−)=k'

λ=kCkC+k' qe∝λ or qe=kλ}  {} # 
 ital If~n= {k} wideslash {k'} ~ ital then {} # 
q rSub { size 8{e} } = {  {kkCkC+k'=k ital KC}  over  { ital KC+k} }  {} 
} } {

    - If max amount of solute adsorbed is Qo, Qo = k" when  = 1

    - Substution of this into the above equation yields:

qe=QoKCKC+1 or xm=ab[C]b[C[+1

    - Remember that C = Cequil

    - Can linearize the Langmuir three ways

Cqe=1QoK+CQo1qe=1Qo+1KCQoq=Qo−qKC

    - Want to solve for K and Qo

    - Use the equation that best fits the data range

    - Can describe adsorption w/ Langmuir if you have a good linear fit.  If not then maybe some other model will work

- Freundlich Isotherm - Heinrich Freundlich

  - General exponential concentration fit

qe=KFC1n

    - KF = specific capacity

    - N is a function of the energy of adsorption (linearize)

logqe=logKF+nlogC

    - General Freundlich isotherm lookalikes the following:

n<1 favorable

n=1 linear

n>1 unfavorable

Ce

qe

- BET - Brunaver, Emmert, and Teller (1938)

  - Extension of the Langmuir Isotherm to several layers of adsorption

  - First layer is heat of adsorption the subsequent layers are condensation

qe=BCQoCs−C1+(B−1)CCsB≈C−dHaRT

    - Cs = saturation concentration of solute in H2O

    - B and Qo are constants

    - Ha is the enthalpy of adsorption

    - Linearize the BET

CCs−Cqe=1BQo+B−1BQoCCs

qe

Qo

C	        Cs

  - GAC adsorbers (Figure 15.9)

  - Look at adsorption zone progression in fixed bed adsorbers (Figure 15.11)

  - EBCT = empty bed contact time = H = td = V/Q ~ 7 to 20 min

- Rate of adsorption zone formation

N=1admdt=−k'C−Cx=k(C−C)r=kaV(C−C)=kα(C−C)α=aV

    - N = mass flux

    - a= adsorption area

    - m = mass of adsorbate

    - k' = mass transfer constant

    - C = conc. in the liquid

    - C* = conc. in equilibrium with the adsorbate

    - k = k'/x

r = rate of mass removal

exhausted

available

Dist

x

C

Q, C

x

Q, C + dC/dx x

    - Doing a mass balance on the elemental volume yields:

QC−QC+dCdxΔx+rΔV=edCdtΔVIn−Out+generation=accumulation

    - Since A = x-c of bed and A x = V

QAdCdx=VdCdx=kα(C−C)

    - V = nominal velocity through the bed, consider

    - Fm = mass flux of the liquid

Fm=ρlQAFmdCdx=kρlQAdCdx=kdα(C−C)kd=kρl

    - If m = mass adsorbent in the bed

m=ρbV=ρbAD or dm=ρbAdDρpFmAdCdm=kdα(C−C)

    - Describes adsorption in the adsorption zone

    - Capacity in adsorption zone

δ=Ve−VbA tex=VeQ

    - Ve = volume of liquid passed through the bed

    - Vb = volume of liquid passed at breakthrough

    - tex = time to bed exhaustion

    - t = time for adsorption zone to be moved

tδ=δVte=tf+tDtδtD=δD=tδte−tf

    - tf = time to form 1 

    - tD = time to travel bed distance D

    - V = velocity

    - Total mass of a contaminant adsorbed (mT)

mT=Co(Ve−Vb)Δm=(Co−C)ΔV

    - m = is the incremental mass adsorbed

    - Define the fractional capacity of the adsorption zone

f=VbVe(Co−C)dVCo(Ve−Vb)

Co

Ce

C

CD

Ve

Vb

- .

    - Extreme value of f = 0 and 1

f=1−tftδ or f=(1−f)tδδD=tδte+tδ(f−1)tE=VeQ tδ=Ve−VbQδD=Ve−VbVb+f(Ve+Vb)

    - We can also define

      - M = amount of adsorbate that will accumulate at complete saturation

      - q = amount of adsorbate at the initial concentration/unit mass of adsorbate

      - Mb = amount of solute accumulated at point of breakthrough

M∞=ρbADq∞ or M∞A=ρbDq∞MbA=ρbq∞(D−δ)+ρpq∞δ(1−f)MbA=ρbq∞(D−δ)+δ(1−f)

    - Thus the % saturation of the whole column at breakthrough (Sb) is:

Sb=MbAM∞A∗100=ρbq∞(D−δ)+ρpq∞δ(1−f)ρbq∞D∗100Sb=D−δfD∗100

    - Since QCo over a time (t) gives the mass needed to be removed can calculate VColumn needed to achieve this

    - So shape of the breakthrough is critical

    - From the isotherm data we can get sets of data of Co and qo

Co

q

q1*

Mass adsorbed

C1

Conc. in equil w/ adsorbent

C

q1

    - Can define superficial mass rate of saturation (Ms)

Ms=mass of adsorbent saturatedtime∗Acolumn

    - For any point on above figure for a C and a q FmC = Msq

    - We can either graphically or numerically integrate this equation

    - Need relationship between C-C* and C

    - Method

      - Draw best fit isotherm and plot isotherm (Figure above)

      - Draw operating line

      - Find C1 and corresponding q1 from op. line now find corresponding C1* that would be in equilibrium

      - Repeat to get C-C*,s for q's and C's then integrate

CbC1dCC−C=i=13ΔCi(C−C)i=A1+A2+A3CbCedCC−C=i=1nΔCi(C−C)i=Axδ=Vx−VbVe−Vb or xδ=A1+A2+A3A

      - Then plot C/Co versus (Vx - Vb)/(Ve - Vb)

  - Bed depth service time method (BDST)

    - Based on lab and pilot column tests

    - 2 design constraints

      - minimum contact time must be provided

      - carbon must be supplied at rate exhausted

    - example of a wastewater at same concentration for 3 columns of different depths (Figure 15.22)

      - draw a line at a specific CD, the tD is determined for each

      - ts < tb because bed needs to be filled

      - Re = the rate of carbon exhaustion

ts=tb−eADQRe=ρpADtb

    - The EBLT = empty bed contact time is calc.

td=EBLT=VbQ=DQA

    - Plot bed depth versus ts (Figure 15.23)

    - Find the Dmin required to meet effluent criteria (or min td) then plot Re versus EBDT (Figure 15.24)

Reminq∞=QCo⇒Remin=QCoq∞

    - If some fraction of wastewater is not adsorbable then:

Remin=Q(Co−Cn)q∞